# PURE Power Home Systems Comparison Table

| Specification | PuRE Power Home 3.0 | PuREPower Home 5.0 | PuREPower Home 12.0 | PuREPower Home 20.0 |
| --- | --- | --- | --- | --- |
| Basic Specifications |  |  |  |  |
| Capacity | 3 KVA/kWh | 5 KVA/kWh | 12 KVA/kWh | 20 KVA |
| Backup Time | Up to 6 hours | Up to 8 hours | Up to 12 hours | Up to 18 hours |
| Price | $1,191 USD | $1,589 USD | $2,649.56 USD | $4,967.95 USD |
| Physical Characteristics |  |  |  |  |
| Dimensions (W × D × H) | 407 × 621 × 128 mm | 485 × 655 × 152 mm | 485 × 1110 × 152 mm | 970 × 2220 × 152 mm |
| Installation Style | Wall-mounted | Wall-mounted | Wall-mounted | Floor standing |
| Weight | 39 kg | 40 kg | 82 kg | 115 kg |
| Power Specifications |  |  |  |  |
| Rated Output Power | 3 KVA | 5 KVA | 12000W | 20000W |
| Surge Power | 6000 VA | 11000 VA | 22000 VA | 36000 VA |
| Input Voltage | 230 VAC | 230 VAC | 230 VAC | 3 × 415 VAC |
| Efficiency (Peak) | 97% | >94% | >94% | >97% |
| Solar & Charging |  |  |  |  |
| Solar Charger Type | MPPT | MPPT | MPPT | MPPT |
| Number of MPPTs | 1 | 1 | 2 | 3 |
| Maximum PV Array Power | 3000W | 7500W | 5500W × 2 | 7500W × 3 |
| Maximum PV Open Circuit Voltage | 450 VDC | 500 VDC | 500 VDC | 500 VDC |
| Battery Specifications |  |  |  |  |
| Battery Technology | Lithium Ion | Lithium Ion | Lithium Ion | Lithium Ion |
| Number of Batteries | 1 | 1 | 2 | 4 |
| Nominal Voltage | 48V | 48V | 48V | 48V |
| Battery Capacity | 2.5 kW | 5 kW | 12 kW | 20 kW |
| Features |  |  |  |  |
| Smart AI | Yes | Yes | Yes | Yes |
| Solar Support | Yes | Yes | Yes | Yes |
| Advanced Thermal Management | Yes | Yes | Yes | Yes |
| 5th Gen Power Electronics | Yes | Yes | Yes | Yes |
| Operating Temperature Range | -10°C ~ 60°C | -10°C ~ 60°C | -10°C ~ 60°C | -10°C ~ 60°C |
| Warranty |  |  |  |  |
| Standard Warranty | 5 years | 5 years | 5 years | 5 years |
| Extended Warranty | 12 years | 12 years | 12 years | 12 years |
| Communication & Interface |  |  |  |  |
| Communication Interface | BMS, Dry-contact, CAN, Bluetooth, WiFi, AI Cloud | BMS, Dry-contact, CAN, Bluetooth, WiFi, AI Cloud | BMS, Dry-contact, CAN, Bluetooth, WiFi, AI Cloud | BMS, Dry-contact, CAN, Bluetooth, WiFi, AI Cloud |
| IP Protection | IP65 | IP65 | IP65 | IP65 |

Note: All systems include features like advanced thermal management systems with Nano PCM technology, pure sine wave output, and multiple protection mechanisms including 5th Gen BMS.